Ghulam Ishaq Khan Institute of Engineering Sciences and Technology (GIKI)

Project Scope Document

for

Project : Device-Free Fall Detection Using WiFi CSI

Version 1.0

by

Member 1 Muqeem          2023561

Member 2 Sarosh             2022xxx

Member 3 Mehreen          2022xxx

Supervisor
   Dr. Muhammad Salman

Co-Supervisor

[Co-Supervisor Name]

Bachelor of Science in Artificial Intelligence (2022-2026)

Faculty of Computer Science and Engineering (FCSE)

Table of Contents

Contents

Abstract	3

1.	Introduction	4

2.	Problem Statement	4

3.	Problem Solution/Objectives of the Proposed System	4

3.1	Objectives	5

4.	Related System Analysis/Literature Review	5

5.	Vision Statement	5

6.	Scope	6

7.	Project Stakeholders and Roles	7

8.	References	7

# Abstract

Falls in elder care homes represent a significant and urgent safety concern requiring immediate intervention. When a fall occurs, the resulting physical strain on the body is often worsened by the length of time the individual remains unassisted. This delay in notification can lead to severe health complications if medical attention is not provided promptly. Current monitoring technologies face fundamental limitations in residential environments. Wearable devices require consistent user compliance, which is often hindered by forgetfulness or discomfort, while camera-based systems are frequently rejected due to privacy concerns in sensitive areas like bathrooms and bedrooms where falls are most prevalent. This project bridges the technical gap by replacing manual monitoring and guesswork with data-driven automation. The proposed system utilizes WiFi Channel State Information (CSI) to capture environmental disruptions without the need for any wearable hardware. By implementing a sophisticated deep learning model on a Raspberry Pi, the system analyzes real-time signal patterns to differentiate between daily activities and fall events. This transition to automated sensing eliminates the limitations of visual intrusion and human error. The primary objective is to provide immediate alerts to caregivers upon detecting an incident, significantly reducing notification time and mitigating the physical strain associated with prolonged periods on the floor. This scalable, privacy-respecting approach ensures resident safety while preserving dignity in both healthcare and domestic settings.

# Introduction

Safety monitoring for the elderly forms a critical pillar of modern healthcare and domestic management. Effective detection of physical incidents is crucial for maintaining resident safety and independence, yet traditional methods are increasingly strained by the complexities of continuous, non-intrusive observation. It is essential for individuals and caregivers to have access to efficient tools that provide automated, needs-based detection, minimizing potential physical strain while reducing the reliance on manual check-ins. This project addresses this necessity by developing a contactless fall detection system that utilizes WiFi Channel State Information (CSI) to ensure safety without requiring active user participation or wearable hardware.

Traditional safety practices often rely on manual oversight or periodic checks, which frequently lead to significant response delays and inconsistent monitoring. Unlike these conventional methods, the proposed system incorporates advanced deep learning models and automated signal analysis to optimize detection based on real-time environmental data. Traditional approaches, such as cameras or wearables, often lack the ability to respond dynamically to movements while respecting user privacy, creating unnecessary risks for residents and straining care resources. By combining subcarrier-level WiFi sensing with edge processing on Raspberry Pi hardware, this project offers a practical, cost-effective solution to help manage safety monitoring efficiently and sustainably.

# Problem Statement

In the residential landscape of modern care homes and domestic settings, elderly individuals face significant challenges regarding the risk of undetected physical incidents. Within these environments, the staff-to-resident ratio often limits the possibility of continuous, one-on-one observation, making immediate response to an event a paramount concern. The existing safety facilities predominantly involve manual monitoring via periodic staff rounds or the use of basic alert systems such as pull-cords and stationary emergency buttons. These methods are often inefficient, as they rely on the fallen individual to be conscious and physically capable of reaching for help, which frequently leads to substantial delays in notification and increased physical strain on the body. Caregivers often rely on fixed observation schedules that cannot account for the unpredictable timing of physical incidents, which vary daily based on the resident's activities and mobility levels. This inefficiency not only impacts the individual's immediate recovery but also strains the operational resources and time management of the care facility. Furthermore, manual check-ins are labor-intensive, demanding significant effort from staff who must balance numerous caregiving responsibilities. While some automated alternatives exist, they are frequently either too expensive for widespread adoption or overly complex, requiring intrusive camera installations that violate privacy or wearable hardware that residents—particularly those with cognitive impairments—often forget to use.

# Problem Solution/Objectives of the Proposed System

This project establishes a wearable-free safety framework that utilizes automated sensing to ensure immediate incident detection in elder care environments. The solution leverages high-granularity WiFi Channel State Information (CSI) to capture environmental disruptions, which are then processed by a deep learning model to differentiate between daily movements and physical falls. By analyzing data locally on a Raspberry Pi, the system serves as a privacy-preserving edge unit that delivers real-time alerts to caregivers without the need for visual surveillance or user-worn hardware. The primary objectives are to develop a non-intrusive prototype that significantly reduces notification latency, minimizes the physical strain associated with prolonged unassisted periods, and maintains a high level of accuracy to ensure system reliability.

## Objectives

- BO-1: Capture high-granularity WiFi CSI data to monitor environmental disruptions through a wearable-free approach.

- BO-2: Develop and train a deep learning model to accurately identify fall events by effectively ignoring and filtering activities of daily living (ADL) through spatial and temporal signal analysis.

- BO-3: Implement the detection framework on a Raspberry Pi to provide real-time edge processing and minimize notification latency.

- BO-4: Ensure total resident privacy by utilizing WiFi signal disruptions for detection instead of visual surveillance or camera systems.

- BO-5: Create a cost-effective and scalable prototype using readily available hardware suitable for integration into care facility infrastructure.

# Related System Analysis/Literature Review

Table 1 :  Related System Analysis with proposed project solution

| Application Name | Features | Weakness | Relevance with the Proposed System |
| --- | --- | --- | --- |
| Wearable-based Detectors | - Direct acceleration measurement - Low-cost hardware | - Requires active user compliance - Frequent battery maintenance | - Entirely wearable-free approach - Passive monitoring via WiFi signal analysis |
| Vision-based Systems | - High-resolution visual confirmation - Strong spatial accuracy | - Severe privacy intrusion - Fails in low-light or blocked views | - Maintains total privacy - Operates via signal disruptions rather than images |
| CSI-based WiFi Sensing | - Standard router implementation - Uses simple signal metrics | - Coarse data granularity - Sensitive to environmental noise | - Utilizes high-granularity CSI data - Uses deep learning on a Raspberry Pi for precision |

# Vision Statement

For elderly residents requiring reliable safety monitoring without compromising personal privacy, our system offers an automated, wearable-free detection framework that bridges the gap between manual oversight and data-driven security. Unlike conventional methods that rely on intrusive cameras or easily forgotten hardware, this intelligent safety solution provides immediate notification of falls while maintaining resident dignity. By significantly reducing response times and mitigating the physical strain associated with delayed assistance, the system establishes a scalable and cost-effective safety infrastructure for modern care facilities.

# Scope

- Detection Environment: Automated identification of fall events within indoor residential settings and care home facilities.

- Sensing Methodology: Wearable-free monitoring utilizing passive WiFi signal disruptions to capture environmental data.

- Data Processing: Real-time signal analysis and classification performed by a deep learning model running on a Raspberry Pi.

- Activity Classification: Implementation of algorithms to recognize and ignore typical activities of daily living (ADL) to ensure accuracy.

- Privacy Guardrails: Maintaining total user privacy by excluding visual surveillance or wearable tracking devices.

- Alert System: Automated generation of emergency notifications to caregivers upon detection of a fall incident.

# Project Stakeholders and Roles

Table 2: Project Stakeholders for [PROJECT]

| Project Sponsor | [GIKI] |
| --- | --- |
| Stakeholder | - [PROJECT MEMBER] - [PROJECT SUPERVISOR] - Senior Design Project Evaluation Panel |

# References

- Artificial Intelligence Applications in Education. (2021, June 15). IEEE Conference Publication| IEEE Xplore. https://ieeexplore.ieee.org/document/9477243

- Gupta, R. & Verma, P. (2019, May 7). Machine Learning and AI in Educational Systems. Wiley. https://www.wiley.com/enus/Machine+Learning+and+AI+in+Educational+Systems-p-9781119620025

- AI-Driven Academic Support Systems for Student Success. (2025, March 10). Element451 Blog. https://element451.com/blog/ai-driven-academic-support-systems

- Developing an Automated Student-Supervisor Matching System for Academic Projects. (2024, August 15). Dr. Shahabuddin Amerudin's Blog. https://people.utm.my/shahabuddin/?p=7417

- AI-Based Academic Advising Framework: A Knowledge Management Perspective. (2023, August). International Journal of Advanced Computer Science and Applications, 13(8). https://thesai.org/Publications/ViewPaper?Code=IJACSA&Issue=8&SerialNo=23&Volume=13

- Automated Similarity Detection: Identifying Duplicated Requirements. (2019, December). Universitat Oberta de Catalunya. https://openaccess.uoc.edu/bitstream/10609/105807/6/jmotgerTFM1219memory.pdf

- AI-DocGen - Automated Process Documentation Tool. (2025, January 5). GitHub Repository. https://github.com/CactusQuill/AI-DocGen

- AI in Higher Education: Enhancing Academic Achievement. (2024, November 12). eLearning Industry. https://elearningindustry.com/the-future-of-higher-education-integrating-ai-powered-learning-platforms-for-enhanced-academic-achievement